Date/Time:       _________________________________________________________

Vendor:              ____PeriGen____________________________________________

Address:             ____100 Regency Forest Drive, Suite 200___________

_____Cary, NC  27518__________________________

Vendor Reps:   ______Trish Iannetti, Project Manager______________

Client Reps:     _________________________________________________

Summary of Device or Product:

Upgrade to the latest version of the fetal surveillance software The system is installed on-prem on customer provided servers and is primarily accessible via the browser. The system relies on data from fetal monitors, ADT and Results via HL7 interfaces from the EMR. This interface includes ePHI such as patient names, MR#, account # and other relevant clinical results (cervical exams, EDD/GA, gravida, parity etc.)

**** In the Observations/Comments column, the grayed-out text suggests what to look for – you may write over this.

| # | Criteria | Observations / Comments |
| --- | --- | --- |
| Services |  |  |
| 1 | Service offerings | Provide continuous near real-time fetal/maternal surveillance for OB department |
| 2 | SLA | PeriGen provides 24x7x365 support services. The PeriWatch System is developed to be used continuously 24x7. Actual up-time largely depends on the architecture of the system (ex: use of cluster DB, VMware HA etc.) |
| 3 | Segregation of services | All services are provided based from out HQ office in Cary NC. |
| Infrastructure |  |  |
| 4 | Location of data centers | Server (virtual) are to be provided and hosted by the customer |
| 5 | Tier ratings of data centers | NA. servers are hosted and provided by the customer. |
| 6 | Network design | Hosted on the customer hospital network. |
| 7 | Outage history | NA assuming the question refers to vendor/cloud infrastructures |
| 8 | Uptime | NA assuming the question refers to vendor/cloud infrastructures |
| Application and End User Access |  |  |
| 9 | User interface | Url access, Encryption protocols and required certificates |
| 10 | Access Requirements | Access inside/outside of the GBMC network? |
| 11 | Other |  |
| Monitoring |  |  |
| 11 | Service monitoring (client) | Since the application is meant o be a 24x7 system, any errors or service interruptions are displayed/prompted to the user on the main application client. |
| 12 | Monitoring tools | There are no specific monitoring tools. Extra monitoring on server services can be done using standard Windows notification tools. |
| 13 | Notification process | Typically, the customer notifies PeriGen of a problem OR support detects a problem during routine maintenance/monitoring. In the latter case, support will notify to primary contact of the problem. |
| Recovery Capabilities |  |  |
| 14 | BC/DR Plans | SQL backup agents have been established with the customer and are in place currently |
| 15 | Recovery protocols | Downtime procedures are in place by the clinical team to go to paper in case of failure. Tracing data it always cached at the DAS level and re-synchronized once server/network is reconnected. In case of full system restore from backup, ADT transactions will need to be re-processed, manual data entered for the duration of downtime (depending on customer guidelines) and cached tracings re-associated. |
| 16 | Notification process | Being an onsite system, the customer will be aware of the whole process. |
| Data Protection |  |  |
| 17 | Encryption protocols | All data resides only on customer secure network. On the latest version of the software (2019.X), all data in transit is encrypted (SHA256) using certificates provided by the customer. |
| 18 | Access control | Audit logs are built-into the application and are stored in the SQL DB. It is the customer responsibility to monitor access using the available reports. |
| 19 | Monitoring tools | Built-in reports (via MS Reporting Services) |
| 20 | Notification process | How vendor notifies customers of potential breach? |
| 21 | Data Center Certification | A. Hosted at customer data centers |
| Workstations and Devices |  |  |
| 22 | Operating System | The latest version of the system (2019.1.02) support Windows 2012/2016 servers and Windows 10 clients |
| 23 | Antivirus | Yes |
| 24 | Network Access | Only on hospital network |
| 25 | Network Sharing | Not required |

| Other |  |  |
| --- | --- | --- |
|  | Fill in |  |
|  | Fill in |  |
| General Impressions |  |  |
| Of the site, of the vendor’s general suitability to meet client requirements. |  |  |

Data Center Tier Ratings

| Tier 1 | Non-redundant components – only what is needed for network links, electric circuits, and HVAC equipment. Single delivery path for power and cooling to servers. |
| --- | --- |
| Tier 2 | Redundant components (aka N+1 where N = needed equipment + 1 extra). Allows for loss of a component without affecting operations. Still a single delivery path. |
| Tier 3 | Redundant components (N+1 or N+2) with multiple network links, power feeds, power gear, and HVAC gear. Dual delivery paths - one active, one passive (A&B). Site is concurrently maintainable (components can be taken offline without affecting operations). Servers and gear can be dual corded. |
| Tier 4 | Fault tolerant, i.e. all components are fully redundant (N+N for network, power, HVAC). Site is concurrently maintainable. All equipment is dual corded and served by dual active delivery paths. Few Tier 4 sites exist. |

Note: A site may have characteristics of more than one tier. It is assigned a particular tier rating only if it meets all of the criteria for that tier.

Review (to be completed by GBMC IT Team)

Approval:

Review Summary: