## Instructions
Lakeland Regional Hospital
Vendor Questionnaire
All new systems and applications being considered for purchase by Lakeland Regional Health must complete this questionnaire concerning different areas of their product including: infrastructure, software, and security.
Please complete the tabs below and return to your representative at Lakeland Regional Health along with the following, if appropriate for the type system or application being reviewed.
If any of our teams need any further information, they will schedule a call with you directly.
Please provide the following documents if available:
Detailed Technical Diagrams
Data Flow Diagrams
3rd Party or Internal Security Assessments
Regulatory Compliance Attestation
Interface Specifications

## Project Information
Lakeland Regional Hospital
New System/Application Onboarding Questionnaire
Application Name |  | Vendor |  | Version | Release Date
Vigilance |  | PeriGen |  | 1.1 | 2018
Application supports the following business functions:
Perinatal Obsteric Early Warning System that interprets, analyzes and tracks physiolocial trends (vitals, fetal heart rate pattterns, contraction patterns, labor progression via modified Labor Curve)as maternal and fetal health progresses positively or negatively throughout all stages of labor
Vendor Representative Contact Information | Name |  | Title | Department
| Zach Schooler |  | Client Executive | Sales
| Company Name |  | Telephone # | e-mail
| PeriGen |  | 352-874-1440 | zach.schooler@perigen.com
LRH Internal Use Only
Project Name:

## Overview
Lakeland Regional Hospital
New System/Application Onboarding Questionnaire
Requirements: | Response
Is system hosted or on site | On site
Type of Classified data either stored, transmitted, or processed by application: PHI/PII/PCI or None: | PHI
What O/S version does the product support | Windows 2012 R2
Is communication to the system done via console or browser, for either user interface or administrative functions. Please describe | End user: Browser based application Administrative end-user: Thick client app on select workstations Administrative (PeriGen): All done on the server via thick client applications
What are other software dependencies (java, adobe reader, etc…) | .Net 4.7.1, Edge browser (Google Chrome recommended)
Specific hardware? (CPU, RAM, HD size, etc..) | See attached specifications
Type of Connectivity? | https from client to server all internal hospital netwrok traffic
Open ports needed? | See attached specifications
Do you have a list of supported hardware? | See attached specifications
Are we able to install the LANDESK agent for us to do Windows patching? | Yes
Are we able to use LANDESK management suite to image the device (Windows)? | Yes (may require validation as part of pre-install activities)
How will the device connect? Wired? Wireless? USB? | Wired or wireless (all internal hospital traffic)
a. IF the device connect wirelessly is it able to support WPA2 Enterprise AES256 with certificates? | Yes
Is device able to be installed without any special mounting devices? (Wall, ceiling, counter, etc..) | No device involved. Only software running on hospital workstations
Are HL7 interfaces available - if Yes please describe and send Interface Specs | ADT inbound and HL7 results inbound. See attached document

## Network
Lakeland Regional Hospital
New System/Application Onboarding Questionnaire
These questions are directed towards Server and Database needs please answer questions to the best of your ability. If the question is non applicable, then put NA is the response space.
A C TI V E D I R EC T O R Y
X | QU E S TION | RESPONSE / EXPLANATION
| Can Servers be added to Active Directory? if not, list reason | Yes
| Is Application Active Directory Aware? | Yes
| If so, to what level, ie: authentication, application roles, etc | End User authentication to the application via group access rights
| If so, LDAP, Global Catalogue, etc. | Yes
DATABASE I NFRASTRU CTURE
X | QU E S TION | RESPONSE / EXPLANATION
| Does Application require MS SQL Server? | Yes
| Does Application Support SQL 2012/2016 Availability Groups? If not, why not? | Yes (SQL 2014 only)
Note: we use a multi‐site / geo cluster for DR and have mitigating scripts to accommodate applications that do not support this model
Note: SQL 2012/2016 runs exclusively on our All Flash array ‐ Pure Storage
If the system or application does not support a database mark NA for the responses for the following section
MICROSOFT SQL
X | QU E S TION | RESPONSE / EXPLANATION
| Who will create databases? | B. Scripts provided by PeriGen
A. A. LRH or Vendor? If LRH, does LRH create DB (empty shell) and will vendor run the scripts to populate the objects B. Exe module by Vendor that will create and populate the databases?
| Will DB backups be performed by vendors and restored by LRH? | LRH
| What is the initial size of the Database? | 500mb initial
| What is the expected/potential growth of the database(s)? | ~5MB per pregnancy. Example: 20000 per year births enterprise wide = 100GB per year growth
| Collation? | No
| Case‐Sensitive? | No
| Isolation Level? | No
| Are databases CPU/Transaction intensive? | Medium-Low
| Can database(s) be purged? | No
| Are there any specific accounts, permissions in SQL that need to be created/applied? | A single user is used to access the DB. Default name is called PWT_USER with read/write permission (not admin).
| Does the application rely on any other database(s) in the environment besides the new one(s) being created? | No dependency on other DBs (other than the temp DB)
| What jobs will be installed in SQL? Are they configured by the OS Scheduler? | The only SQL agent job created by the installer is a maintenance task to clear out unneeded logs. No OS scheduling jobs are used
| What function do the job(s) perform? | Maintenance / cleanup of stale temporary files
| Are there any backup jobs created during the application install? | No. Backup job(s) are to be configured by the customer.
| How are the databases going to be promoted to PRD? Backup/Restore, running scripts? | In case of DB restore from backup, this task has to be completed while the application is down. DB restoration should be completed within 60 min (depending on hardware and backup sub-system). When complete, the application services are restarted and client apps can reconnect to the system.
| Is there a list of the most common issues and how to troubleshoot them that the vendor can provide? | Yes, PeriGen can work with the customer to provide a list adapted to their workflow
| Any specific training that the DBA’s should be aware of? | No
VMWare Compatibility
X | QU E S TION | RESPONSE / EXPLANATION
| Does Application support VMWare ESX 6.0 and up? | Yes
If not, are there hardware requirements that prevent usage, i.e.: telephony card, usb dongle, etc.?
| If no physical hardware requirement issues, can the app run in VMware, but the vendor will not support? | App van run in Vmware. PeriGen will require RDP support to the server VM guest OS.
| Are there VMware limitations such as cpu/ram affinity? NOTE: any VM over 16cpus must be dedicated to a physical blade per VMware for performance best practices | No
DR / H A DE SIGNS
X | QU E S TION | RESPONSE / EXPLANATION
| Does Vendor Design incorporate High Availability? If not, why? | Yes
| If so, briefly describe. | High availability is assumed using Vmware HA configuration for the application server and SQL availability groups with Windows clustering nodes
| Identify Single Points of Failure in Vendor’s Design | Network connectivity, Connectivity to fetal monitors.
LRH recommendations to improve design?
| Does Vendor Design incorporate Disaster Recovery? If not, why? | The application is an add-on early warning system to the OB monitoring and EMR systems used in OB. It is not considered as "critical" at the same level as the other apps mentioned above. As such, the Vmware HA coupled with SQL clustering provides a considerable mitigation for fault/disaster scenarios. Standard backup tasks are the last resort where the entire system can be restored from the last backup.
| If so, briefly describe | See previous answer
| Identify Risk Points in Vendor Design | minimal for the type of system
LRH recommendations to improve design?
REMOTE CONNECTIVITY
X | QU E S TION | RESPONSE / EXPLANATION
| What Remote Access Methodology does vendor request for Support? | SecureLink service (www.securelink.com)
| What type of remote access is required for vendor monitoring system (if applicable) | NA
| What type of Remote Access will be required for clients? | Since the primary application is delivered via web browser, an VPN type remote access provided/approved by the hospital could provide access to the system. Thin-client technologies like RDP or Citrix are also supported.
APPLICATION DELIVERY
X | QU E S TION | RESPONSE / EXPLANATION
| Can the client/web access be accessed in Citrix XenApp? | Yes
SECURITY / D MZ REQUIREMENTS
X | QU E S TION | RESPONSE / EXPLANATION
| Does this system require DMZ servers, if so what ports are required | No
| Does the system require internal and/or external certificates and do they support TLS1.2 with FIPS enabled | Yes
| If certificates are required can they support the use of SAN (subject alternative names) | This was never directly tested by PeriGen sees no reason for this to be a problem.
| What are the AV exclusions | See the attached document
Operational Item s
X | QU E S TION | RESPONSE / EXPLANATION
| Does LRH have permission to apply LRH Standard Configuration to vendor provided applications? i.e.: disable services, startup options, registry hacks, etc. | In principle yes. We do ask to be involved in that operation to ensure there is not undesirable side effect on the system
| Does vendor have remote monitoring capabilities?, If so, describe mechanism | No
| Can LRH implement SNMP community strings for Spectrum? If not, why? | We have not had experience with this specific technology. There should be no impact on the server to use started monitoring software. May require some validation during pre-install activities.
| If HP Hardware, can LRH reconfigure HP Agents in accordance to LRH Standards? If not, why? | Yes
| Does vendor have specific application and hardware monitoring points? If so, what are they? | Ther eare built-in logic fucntion built-into the app that reflect key metrics in the application we provide.
| Does Vendor support Trend Anti‐Virus? If not, why? | Yes
| Does Application have specific AV Exclusions? If so, what are they and why? | See the attached document. These exclusions are almost soley to address performance related issues due to active scanning of certain files (typically database related files)
| Notify vendor that LRH utilizes a utility that backup and clears Windows Event Logs nightly. | This is not recommended as the windows event logs are an essential tool to torubleshoot the system by our help-desk
| Are there specific application errors that get written to the Windows Event Logs that LRH can monitor? If so, what are they? | The PeriGen application writes logs/events to two location. Dedicated files on the server file system and the event logs. There are too many events (of all kinds from infromation, warning, errors) to list them here.
| LRH currently utilizes Commvault for backups. Does vendor have issues with CA or any other backup solution? If so, what? | No
| Does vendor have a recommended backup schedule/plan? If so, what? | Daily backup
| LRH will perform System Baselines on performance and hardware configuration utilizing standardized tools. Does vendor know of any existing performance issues at other vendor install sites? If so, what are they? | No
| Does vendor / app have specific DST requirements, processes, and procedures? | No
SUPPORT ITEMS
X | QU E S TION | RESPONSE / EXPLANATION
| Does vendor have pre‐ defined Roles and Responsibilities Matrix? | Yes
| Have Vendor define OS Patching Responsibilities and process. (I.e.: vendor approval prior to patching, etc.) | PeriGen assume that OS patching is done regularly by the customer. Vendor software patches are always coordinated with the customer before deployment.
| Does Vendor provide a monthly, quarterly, etc. list of approved OS Patches | No. PeriGen assume regular OS patching is done by the customer

## Security
Lakeland Regional Hospital
New System/Application Onboarding Questionnaire
This section is only required if the system or application processes, stores, or transmits confidental data such as PII, ePHI, or PCI.
1 | ACCESS MANAGEMENT | Yes | No | N/A | Response
1.2 | Is user authentication controlled by means other than user account and password or PIN? |  | X
If yes, indicate what other mechanisms are used (e.g. certificates, token, biometric, etc.):
1.3 | Does the application force “new” users to change their password upon first login into the application? |  |  | X | AD authentication is assumed
1.4 | Can the user change their password at any time? |  |  | X | AD authentication is assumed
1.5 | Can the system administrator enforce password policy and/or complexity such as minimum length, numbers and alphabet requirements, and upper and lower case constraint, etc.? |  |  | X | AD authentication is assumed
1.6 | Can the application force password expiration and prevent users from reusing a password? |  |  | X
1.7 | Is password transmission and storage encrypted and unviewable even to the system administrators? |  |  | X | We do not store any password with AD authentication mode
1.8 | Can the application be set to automatically lock a user’s account after a predetermined number of consecutive unsuccessful logon attempts? |  |  | X | Yes but managed by AD
1.9 | Does the application prohibit users from logging into the application on more than one workstation at the same time with the same user ID? |  | X
1.1 | Can the application be set to automatically log a user off the application after a predefined period of inactivity? | X
1.11 | Can access be defined based upon the user’s job role? (Role-based Access Controls (RBAC))? | X
| If yes, can application generate the list of users by job role? | X
1.12 | Can the application support the removal of a user’s access privileges without requiring deletion of the user account? | X |  |  | Managed by AD group association
1.13 | Does the application support a mechanism for allowing emergency access by a caregiver to a patient's electronic health information that is not included within their standard access privileges? |  | X
| a. If yes, does the application capture and retain details pertaining to this action for review? |  |  | X
| b. If yes, do the caregiver’s access privileges revert back to the original setting upon next log-in? |  |  | X
2 | AUDIT CAPABILITIES | Yes | No | N/A | Response
2.1 | Is audit log tracking a feature available in the current version of this software application? If yes, then continue with 2.2; If no, continue with 3.0 | X
2.2 | Capturing user access activity such as successful logon, logoff, and unsuccessful logon attempts? | X
If yes, list the data elements contained in the audit log: successful logon, logoff, and unsuccessful logon attempts
2.3 | Capturing data access inquiry activity such as screens viewed and reports printed? |  | X |  | There is only one screen in this application
If yes, list the data elements contained in the audit log:
2.4 | Capturing data entries, changes, and deletions? |  | X |  | No deletion available in the application
If yes, list the data elements contained in the audit log:
2.5 | Does the application time stamp for audit log entries synchronize with other applications and systems using NTP/SNTP? | X |  |  | Assumes Winodws time from DC or other time source approved by the customer.
2.6 | Are audit log reports available for the current version of this software application? | X
| a. If yes, specify the types of reports: |  |  |  | Log stored in SQL table and available as a query or reporting service report.
| b. If yes, indicate if additional hardware or software (including any third- party software required to activate or utilize the audit logging and/or reporting feature: |  |  |  | Not applicable
2.7 | Can the audit log "data" be exported from the application for further processing (e.g. storage, analysis)? | X |  |  | Could be interfaced or directly queried from SQL. Need to be coordinated with PeriGen support/development
2.8 | Indicate how audit log files are protected from unauthorized alteration: |  |  |  | Stored in SQL server with access control
2.9 | Does the application allow a system administrator to set the inclusion or exclusion of audited events based on organizational policy and operating requirements or limits? |  | X
2.1 | Can the application continue normal operation even when security audit capability is non-functional? (For example, if the audit log reaches capacity, the application should continue to operate and should either suspend logging, start a new log or begin overwriting the existing log) |  | X |  | Depending on the type of error, the application might continue to function normally. Since logs are stored in SQL like all other data, running out of space on SQL disk will lead to an application failure.
3 | SECURITY OF REMOTE ACCESS AND SUPPORT | Yes | No | N/A | Response
3.1 | Which connection method(s) are used to accomplish remote support?
a. Dial-up
b. Secure web tunneling
c. VPN Client (specify VPN technology method here):
d. Business-to-Business VPN using IPSec
| e. Other: |  |  |  | Out standard (and the one most supported by our customers) is SecureLink, a 3rd party product that provides an industry standard, fully secure and auditable service to provide compliant connectivity between vendors and customer us regulated areas.
3.2 | Identify which remote support applications are utilized and the security controls enabled: |  |  |  | Typically RDP only
3.3 | Is functionality built into the application which allows remote user access and/or control? |  | X
3.4 | If requested, can the application associate remote support activities with an individual employee of the vendor? (accountability) |  | X
3.5 | Do vendor support personnel have specific roles and Permission that control access to confidential data? | X
3.6 | Does the audit system log remote support connection attempts and remote support actions such as application or configuration modifications? | X
4 | PROTECTION FROM MALICIOUS CODE | Yes | No | N/A | Response
4.2 | Does the application’s client software operate without requiring the user to have local administrator level rights in order to run the application? | X
5 | CONFIGURATION MANAGEMENT AND CHANGE CONTROL | Yes | No | N/A | Response
5.2 | Has the application been tested to be fully functional residing on its associated operating system/middleware platform configured with a recognized security configuration benchmark? |  | X |  | Although the application is tested for the latest version and patch level of the supported OS (server and client), no particular "benchmark" was used. This is typically done as part of pre-install activities to validate each customer's environment.
If yes, indicate the configuration benchmark:
5.6 | Do you provide documentation for guidance on establishing and managing security controls such as user access and auditing? | X
6 | DATA EXPORT AND TRANSFER CAPABILITIES | Yes | No | N/A | Response
6.1 | Does the application encrypt data before sending it over the Internet or an open network? | X |  |  | Although the application does not send any data outside the hospital network, all data communication between system modules are encrypted by default (require a customer supplied certificate)
| If yes, indicate the encryption used: |  |  |  | Symmetric AES-256
6.2 | Does the application encrypt data before storing on removable media such as backup tapes, CDs, DVDs, etc. or devices such as laptops, tablets, or computer workstation hard disk drives? |  | X |  | Encryption at rest (if mandated) is achived with SQL TDE
| If yes, indicate the encryption used: |  |  |  | Confgurable but AES-256 is the sttandard
6.3 | Indicate the interfacing and format standards the application can accept or use for transferring data: (e.g., HL7 transaction formats, ANSI X12 standards, CCOW, etc.): |  |  |  | HL7 only
7 | OTHER CAPABILITIES | Yes | No | N/A | Response
7.1 | Does the application maintain a journal of transactions or snapshots of data between backup intervals? | X
7.2 | Can the system administrator reconfigure to nonstandard port assignments other than the list of registered ports published by IANA? | X
7.4 | Has the application security controls been tested by a 3rd party? |  | X
(Lakeland Regional Hospital requires proof that a 3rd party security assessment has been performed.)
7.5 | Does the application have ability to run a backup concurrently with the operation of the application? | X
7.6 | Does the application include documentation that explains error or messages to users and system administrators and information on what actions required? |  | X |  | The PeriWatch Vigilance application functions as an Early Warning System where users are prompted of certain key events with very limited data entry or direct interaction and nearly no administrative controls. The few error messages that are prompted are covered in end-user guides. All other application problems should be redirected to PeriGen 24x7 technical support.
7.7 | Is customer data securely deleted in the event of contract termination? | X |  |  | We can coordinate this task in collabration with the customer
| If yes, explain how data is securely deleted. |  |  |  | By a permanent deletion of SQL DB files as well as archive files if applicable. Backup and tranaction logs need to be deleted by the customer if stored on a separate system.

## Interfaces
Lakeland Regional Hospital
New System/Application Onboarding Questionnaire
This section is only required if the system or application will interface with LRH systems.
| Interfaces | Yes | No | N/A | Response
1.1 | Are Interface specification documents available? | X
1.2 | What inbound interfaces are available?
| ADT | X
| ORDERS |  | X
| RESULTS | X |  |  | Inbound 12 fields charted in the EMR needed as input to the Vigilance system
| CHARGES |  | X
| FILE (pdf, rtf, image) |  | X
| Other (please explain) |  | X
1.3 | What outbound interfaces are available?
| ADT |  | X
| ORDERS |  | X
| RESULTS | X |  |  | Vigilance sending status HL7 message to the EMR
| CHARGES |  | X
| FILE (pdf, rtf, image) |  | X
| Other (please explain) |  | X
1.4 | What is the data transmission format?
| HL7 | X
| Flat file |  | X
| XML |  | X
| EDI |  | X
| Other (please explain) |  | X
1.5 | What are the supported communications protocol?
| TCPIP | X
| FTP |  | X
| SFTP |  | X
| database query |  | X
| shared folder, disk read |  | X
1.6 | Is interface troubleshooting documentation available? |  | X |  | Interface scope is quite limited. PeriGen is happy to provide such a document as needed
1.7 | Please explain the interface support structure post go-live.
| business hours |  |  |  | 24x7x365
| SLA |  |  |  | Best effort
| contact number or email address |  |  |  | support@perigen.com
1.8 | Does the solution process interface transactions internally? | X
If no, what 3rd party or ancillary system / integration engine is used?

## Medical Equipment
Lakeland Regional Hospital
New Medical Equipment Onboarding Questionnaire
This form is required for all new stand-alone medical equipment, as well as all new medical equipment with interfaces and software applications.
If any of the below requested information was provided in another document, please reference that document in the Response space provided
1 | Device Information |  |  |  | Response
1.1 | Quote Number or Id |  |  |  | No medical equipement is provided as part of PeriWatch Vigilance. This section is therefore not applicable.
1.2 | Description of the device and its function
1.3 | Model (number and name)
1.4 | Software Versions included with the System
1.5 | Is/are the devices for the Hospital, Offsite or both ?
2 | Preventative Maintenance (PM) and Service Under Warranty |  |  |  | Response
2.1 | Number of onsite PMs under warranty ?
2.2 | Maximum number of onsite service calls under warranty ?
2.3 | Coverage Days and Hours ?
2.4 | Onsite service response time ?
2.5 | Loaners provided for extended service issues ?
2.6 | Loaner include shipping expenses ?
3 | Installation and Removal | Yes | No | N/A | Response
3.1 | Number of expected skids required for shipping ?
3.2 | Are installation and assembly services included ?
3.3 | Does the device require new/additional power ?
3.4 | Does the device require new/additional cable or fiber ?
3.5 | Does the device require Facility changes ?
3.6 | Are removal services included ? (boxes, pallets, old devices, etc.)
3.7 | Is the removed equipment a credit towards this purchase ?
4 | Patient Information | Yes | No | N/A | Response
4.1 | Can this device display, transmit or maintain private data ?
4.2 | Types of private data elements that can be maintained/stored in the device itself.
Demographic
Medical Record
Diagnostic/Therapeutic
Open or unstructured user entered text
Biometric data
Personal financial information
4.3 | Maintaining private data - Can the device itself
Maintain private data temporarily in a volatile memory (until cleared by power off or reset) ?
Store private data persistently on local media ?
Can this private data be stored on a removable component (Memory stick/card, DVD, etc.) ?
Maintain private data during power interruptions or loss ?
4.4 | Mechanisms used for transmitting, importing/exporting of private data. Can the device itself
Display private data
Generate paper reports
Retrieve private data from a memory stick/card, DVD or other media
Transmit/receive or import/export private data via a cable, port or other connection
Transmit, receive or move private data via a networked or wireless connection
4.5 | Does equipment being removed contain any private information
If so, comply with the LRHS IT Policy by removing the hard drive or any other storage medium to
IT for documentation and destruction.
5 | Device Component Connectivity | Yes | No | N/A | Response
5.1 | Does the device connect to other components of the system (foot pedals, displays) via a
dedicated cable or wireless connection.
5.2 | If the system contain wireless components, describe the protocol.
5.3 | Is the component connection secure from unauthorized utilization ?
5.4 | Does the device and its components require additional fiber or cable runs for proper operation ?
If so, state the Company Scope of Work (SOW).
If so, state the Hospital Scope of Work (SOW).
6 | Device Access | Yes | No | N/A | Response
6.1 | Does the device itself require a password to login ?
6.2 | Does the device itself contain service level software ?
6.3 | Does the device itself contain service level software that requires a password login ?
7 | Operating System and Change Management | Yes | No | N/A | Response
7.1 | What Operating System (OS) does the device itself utilize ?
7.2 | Can the OS be accessed via a wireless connection ?
7.3 | Can the OS be accessed via a wired port ?
7.4 | Last OS Update ?
7.5 | If the device is a component of a system with server application software, complete the IT Questionnaire
7.6 | Can the Server software updates and the device updates be performed separately ?
8 | Audit Capabilities | Yes | No | N/A | Response
8.1 | Does the device itself have an Audit tracking log ?
8.2 | Does the device itself have an Error log ?
9 | Malware protection | Yes | No | N/A | Response
9.1 | Does the device itself utilize or require Malware, Antivirus or other software for proper operation ?
9.2 | If above is Yes, describe the process and responsible parties.
10 | Recalls, Alerts & Notices | Yes | No | N/A | Response
10.1 | Were there any recalls, alerts or notices in the past applicable to this model ?
10.2 | Are there any current or pending recalls, alerts or notices on this model ?
10.3 | Date of last company field correction or advisory notice ?
11 | NRTL, Declaration of Conformity | Yes | No | N/A | Response
11.1 | Is the current NRTL included with the device itself ?
11.2 | Is the Declaration of Conformity included with the device itself ?
12 | Manuals | Yes | No | N/A | Response
12.1 | Are Operator manuals/CDs included ?
12.2 | Are Service manuals/CDs included ?
13 | Training | Yes | No | N/A | Response
13.1 | Are Clinical Engineering in-services/training included ?
13.2 | Is Clinical training included ?
14 | Technology Management | Yes | No | N/A | Response
14.1 | Is the device itself in a technology management / refresh program ?
14.2 | If the device does not have a three year warranty, forward a 1 year extended warranty quote.
15 | Test Equipment | Yes | No | N/A | Response
15.1 | Is there any special test equipment or licenses required to test this device ?